## Slide 1: CPR & AED
Training
City of Palo Alto Fire Department

## Slide 2: Objectives
Overview of Cardiac Arrests
Overview of chance of survival
Use of AEDs
Importance of CPR
City of Palo Alto AED program overview
Practice the skills

## Slide 3: Sudden cardiac arrest claims more then 350,000 American lives each year. Many people show no warning signs. Occurs in people with no previous symptoms of heart disease. 50% of the sudden deaths in men 63% in women 12% in children 17% workplace deaths
The Facts

## Slide 4: The Usual Suspect...
  Heart’s electrical impulses suddenly become chaotic.
  Pumping action abruptly stops.
  Victim rapidly loses consciousness, has no pulse, and stops breathing.
Death follows within minutes!
Ventricular fibrillation (VF)
VF is the most frequent initial rhythm in sudden cardiac arrest.

## Slide 5: Chances of survival reduce 10% with each minute.
1,000 Cardiac Arrest
occur each day in the U.S.
National Survival average is 5% = 50 Lives Saved
CPR alone until Paramedics arrive, < 10% Survive = 100 Lives Saved
Communities optimizing defibrillation immediately at the scene (such as Seattle) 25%-30% = 300 Lives Saved
10
20
30
40
50
60
70
80
90
100
0
1
2
3
4
5
6
7
8
9
Success %
Time (minutes)
Adapted from text: Cummins RO,
Annals Emerg Med. 1989, 18:1269-1275

## Slide 6: What to do?
Only 1 known therapy for VF !
Defibrillation - technique of giving an electric shock to restore the heart’s normal rhythm.
    Must be done within minutes of collapse.
    In just 10 minutes, survival rates drop to almost zero.
        - American Heart Association

## Slide 7: Chain of Survival
Early
Access
Early
CPR
Early
Defibrillation
Early
Advanced
Care

## Slide 8: Suspected Cardiac Arrest
No signs of life
  Not moving
  Not Breathing
  No pulse*
Call 911
Get AED
Begin CPR

## Slide 9: Links (cont.)
Early Defibrillation
  Use an AED (Automatic External Defibrillator) to treat ventricular fibrillation

## Slide 10: Automated External Defibrillator AED
Lightweight and portable
Automatically analyzes heart rhythms
Guides the user through defibrillation
Easy to use, safe and effective
Long life batteries and comprehensive “self checking” protocols

## Slide 11: AEDs
ONLY
Advises to shock the patient
If there is a shockable
rhythm

## Slide 12: Good Samaritan Act (HSC)
1714.21. (a) For purposes of this section, the following definitions shall apply: (1) "AED" or "defibrillator" means an automated or automatic external defibrillator. (2) "CPR" means cardiopulmonary resuscitation.
(b) Any person who, in good faith and not for compensation, renders emergency care or treatment by the use of an AED at the scene of an emergency is not liable for any civil damages resulting from any acts or omissions in rendering the emergency care.

## Slide 13: Suspected cardiac arrest
No signs of life
        Not moving
  Not Breathing
  No pulse*
  Call 911!!!
  Get AED
  Begin CPR, (Compressions only)
If two rescuers, start compressions while another gets the AED

## Slide 14: Attach electrodes
Turn AED on
  AED will self test
The AED will walk you through the process: “Listen to all prompts”
The Cable is already attached to the electrodes
Appling electrodes to chest
  - Cut or remove shirt/blouse
  - Prep chest if necessary
  - Pictures on package and on electrodes show proper placement

## Slide 15: Initial Voice Prompts
prompt “Call for help now, remove clothing from patient’s chest.” :
Follow all other prompts.
Make sure no one is touching the patient when AED is determining patient’s cardiac rhythm.
Make sure no one is touching the patient during a shock.

## Slide 16: Voice prompts continued…
If the patient is in Ventricular Fibrillation the AED will charge (audible) and a ”Shock Advised” prompt will be given.
Check again to make sure no one is touching the patient.
Press the SHOCK button when prompted.

## Slide 17: If patient regains pulse
Keep airway open.
Assist with breathing, as needed.
Do not remove electrodes.
Turn over care when Paramedics arrive.
The defibrillation pads on the City’s AEDs will work with our FD Monitors

## Slide 18: Pediatric Considerations
Some AEDs have a pediatric option, for 8 years or less
There are specific pads or a key to change the mode
The CR Plus needs specific Pediatric Pads
Per AHA, if no pediatric mode is available then use the adult pads and place them front and back
Spare Pads are stored in the lid of the AED

## Slide 19: Public Access Defibrillation (PAD) Programs Save Lives…
Airlines: 1997-1999 (NEJM study)
  74% survival when first defibrillation < 3min
Casinos: Las Vegas
  Of 105 patients in VF, 53% survived to discharge
Local community PAD: Rochester, Minnesota
  45% VF victims (21 of 44 victims survived)
    First Responder Police Department; No ALS
  ALS without PAD in N.Y. (26 of 2,329 survived)

## Slide 20: AED Locations for Palo Alto
Greer Park
Children’s Library
Community Theatre
Art Center
Gamble Gardens Carriage House
Junior Museum and Zoo
Pearson-Arastradero Preserve Ranger Station
Golf Course Peers Park
Baylands Baseball Fields
Mitchell Park Library
Main Library
City Hall all floors
Cubberley Community Center I and II
Lucie Stern
College Terrace Library
Downtown Library
Mayfield Soccer Field
Baylands Nature Reserve
Hoover Park
Seale Park
Animal Services Center
Foothills Park Interpretive Center
Bowling Green Park
Mitchell Park Community Center 1st and 2nd floor
MSC Center Building A and Utility Control Center

## Slide 21
There are contacts at each location you should be aware of.
Also, all of the City Purchased AEDs are compatible with our Paramedic Monitors

## Slide 22: Review Training Regularly
On a regular basis review the AED training video or check with the contact to practice.
Practice compression only CPR to maintain the skill
The Training Video will be placed on the City/Fire Website for reference

## Slide 23: Summary
The City of Palo Alto is working towards a HeartSafe Community Initiative
  Increase the number of trained CPR/AED lay providers within our community.
  Help set up AED programs in public places.
  Dispatch will have AED locations
  To save lives!

## Slide 24
Let’s Practice